QUESTIONNAIRE FOR the

STRUCTURE DETERMINATION BY POWDER DIFFRACTOMETRY ROUND ROBIN - 3

d

Please answer all questions as completely as possible. Provide

one filled questionnaire for each data (samples 1 and 2).

Preferably, attach the results as one PDF file or as a MS Word

document compressed by Winzip.

It is advised to complete the form as the structure determination

progress.

O.0 Precise date of

- data download      :  Fri, 1 Feb 2008 afternoon

- results submission :  Fri, 8 Feb 2008

0.1 Is the first sample structure solvable with this quality

of data ?                                        Yes [*]  No [ ]

0.2 Is the second sample structure solvable with this quality

of data ?                                        Yes [*]  No [ ]

0.3 If not, what data would be required ?

Then, for each sample :

1. Preliminary work

1.1 Did you obtained additional informations ?  No.

(for instance from CSD or ICSD or ICDD databases)

1.2 Did you obtained additional informations from the

powder pattern ? If yes, how and what information ? No.

(for instance using the JCPDS-ICDD database)

1.3 Did you extract the structure factors ?       Yes [*]  No [ ]

I extracted intensities using the Le Bail method with GSAS and used for input to Shelxs or Sir2002. Later on, I tried to perform whole pattern decomposition  with EXPO, also without much success.

1.3.1 If yes, which program(s) did you use ?

1.3.2 Give the angular range: 8-50 in 2theta

1.3.3 Give the number of extracted structure factors: 180

1.3.4 Give the Rp and Rwp (conventional Rietveld, background subtracted): 0,0649 and 0,0658 with Manually determined background points

1.3.5 Give the Rp and Rwp (background not

subtracted): 0,0279 and 0,0383

1.3.6 If not, did you use the whole pattern ?

1.3.7 Or a partial pattern (if yes, give the angular range):

1.3.8 If you use the whole or a partial pattern, did you keep fixed the

profile parameters, and if yes, how did you obtained them ?

2- Structure solution

2.1 Did you use direct methods ?                 Yes [*]  No [ ]

2.1.1 If yes, was it on the whole dataset ? On the extracted reflections

2.1.2 Or on a partial dataset ?

2.1.3 Give the number of reflections: 180

2.1.4 Which program(s) did you use ? Shelxs, Sir2002

2.1.5 Did you modified intensities of closely neighbouring

reflections ? If yes, explain how. No.

2.2 Did you use Patterson methods ?              Yes [*]  No [ ]

2.2.1 If yes, was it on the whole dataset ? On the same set of extracted intensities.

2.2.2 Or on a partial dataset ?

2.2.3 Give the number of reflections: 180

2.2.4 Which program(s) did you use ? Shelxs

2.2.5 Did you modified intensities of closely neighbouring

reflections ? If yes, explain how. No.

2.3 Did you use another method ?                 Yes [*]  No [ ]

2.3.1 If yes, which method(s) (give details : molecule location

by direct space - genetic algorithm, Monte Carlo, Simulated

annealing, scratch, charge flipping, other) ?

Paralell tempering

2.3.2 Which program(s) did you use (name and reference) ?

Fox, version 1.7.1.1 Dec 4 2007

2.3.3 If you used direct space methods, how many independent

molecules did you use (give details on these molecules)? How

many degrees of freedom (total) ? How many torsion angles ?

A few different attempts. (1) tartarate treated as a molecule, calcium and four oxygen atoms all treated independently of each other; dof: 24 torsions 3 . (2) only with two or three oxygen atoms bonded to calcium atom; dof: 18, torsions 3 (3) as 1 with more than four not bonded oxygen atoms dof: around 30, torsions 3.

2.4 Did you first locate the whole structure ?   Yes [*]  No [ ]

2.4.1 If not, how many atoms did you locate ?

2.4.2 Give their name and initial atomic coordinates

Atom      x         y          z

C1          0.5050  0.3701  0.8419

C2          0.3201  0.3840  0.7142

C3          0.0878  0.3767  0.7444

C4         -0.1148  0.3542  0.6100

O5         -0.2115  0.2242  0.5179

O6         -0.1985  0.4861  0.5947

O7          0.4499  0.2166  0.8786

O8          0.7007  0.4790  0.9012

O9          0.4197  0.5381  0.6720

O10         0.1210  0.5314  0.8256

H11         0.2846  0.2732  0.6370

H12         0.0252  0.2653  0.7966_________atoms above: tartarate

Ca1         0.1592  0.3120  0.2280

O1          0.8055  0.1218  0.2725

O2          0.6237  0.8175  0.8893

O3          0.1132  0.8025  0.0111

O4          0.3191  0.1516  0.3977

2.4.3 Were the initial atomic coordinates taken from a known

structure ?    Not to me at least.           Yes [ ]  No [*]

If yes, which one (give reference) ?

3- Structure completion

3.1 Did you performed Fourier difference syntheses before

refining the structure by the Rietveld method ? Yes [ ]  No [*]

3.2 If yes, with what program ?

3.3 If yes, how many additional atoms did you obtained from Fourier

difference syntheses ?

3.4 Give their name and atomic coordinates as they were obtained

Atom      x         y           z

.................................

.................................

.................................

3.5 Did you made first Rietveld refinements without preliminary

Fourier difference syntheses ?                  Yes [*]  No [ ]

3.5.1 If yes, with what program ?   GSAS

3.5.2 What were the Rp and Rwp (background subtracted AND not

subtracted) and RB and RF that you obtained at the first

Rietveld application ?

Haven’t written it down. As I recall Rwp~0,11; Rwp(-bknd)~0,15

3.5.3 Did you get the structure factors from this result and

performed a Fourier difference synthesis ? No.

3.5.4 Did you locate additional atoms at this stage ? No.

3.5.5 And which one ?

Atom      x         y           z

.................................

.................................

.................................

3.5.6 If you repeated Rietveld refinements and Fourier synthese

several times before to complete the model, give the number

of times and which atoms you locate and the Rp, Rwp

RB, RF at each times.

Atom      x         y           z

.................................

.................................

.................................

4- Final refinement

- Give the final atomic coordinates, thermal parameters,

standard deviations, Reliability factors...........

Atom      x         y           z         B

C1      0.4969(21)   0.3622(16)   0.8337(14)   1.0   0.0498(9)

C2      0.3004(28)   0.3898(16)   0.7160(13)   1.0   0.0498(9)

C3      0.0801(26)   0.3716(18)   0.7534(13)   1.0   0.0498(9)

C4     -0.0971(25)   0.3551(15)   0.6281(15)   1.0   0.0498(9)

O5     -0.2034(13)   0.2052(11)   0.5360(9)    1.0   0.0498(9)

O6     -0.1787(15)   0.4757(11)   0.5900(8)    1.0   0.0498(9)

O7      0.4271(14)   0.2031(12)   0.8697(8)    1.0   0.0498(9)

O8      0.6845(15)   0.4753(10)   0.9007(8)    1.0   0.0498(9)

O9      0.4214(15)   0.5354(11)   0.6732(8)    1.0   0.0498(9)

O10     0.1388(15)   0.5293(11)   0.8434(9)    1.0   0.0498(9)

H11     0.265(11)    0.277(7)     0.623(6)     1.0   0.0498(9)

H12     0.095(13)    0.255(7)     0.798(7)     1.0   0.0498(9)

CA13    0.1630(5)    0.3127(4)    0.22960(31)  1.0   0.0498(9)

O14     0.8067(13)   0.1226(9)    0.2715(8)    1.0   0.0498(9)

O15     0.6339(12)   0.8471(10)   0.8812(7)    1.0   0.0498(9)

O16     0.1216(14)   0.8148(10)   0.0100(9)    1.0   0.0498(9)

O17     0.3194(11)   0.1478(9)    0.3969(7)    1.0   0.0498(9)

- Give details about constraints, restraints

I used restraints on bond lengths and angles.

5- Feel free to add any intermediate results (list of extracted structure

factors, software decisive input and output data...) or comments you

might consider as essential (details on hardware, time for solving the

structure, number of moves by Monte Carlo or molecule position trial,

any picture...).

I strongly believe that this is the correct structure. I had a few doubts as it is stated on the website that this is a polymorph of enantiomerically pure calcium tartarate. This structure I got to is a racemate. I have tried to find initial model using all of the above named methods in P1 space group but with no meaningful results. And I would be very surprised to find that I could get a Rietveld fit this good and chemically very sensible structure with a wrong structure. Additionally, this structure model didn’t show a hint of divergence in least squares.

I hope I’ve answered all questions. I will be happy to answer if I left something that needs clarification.

With kind regards,

Ivan Halasz

Department of Chemistry

Faculty of Science

University of Zagreb

Horvatovac 102a

10000 Zagreb, Croatia

Tel. +385 1 4606 416

data_TART_publ

_pd_block_id

2008-02-08T12:31|TART|Ivan_Halasz|Overall

_audit_creation_method  "from EXP file using GSAS2CIF"

_audit_creation_date                   2008-02-08T12:31

_audit_author_name                     "Ivan Halasz"

_audit_update_record

; 2008-02-08T12:31  Initial CIF as created by GSAS2CIF

;

#=============================================================================

# this information describes the project, paper etc. for the CIF             #

# Acta Cryst. Section C papers and editorial correspondence is generated     #

# from the information in this section                                       #

#                                                                            #

#   (from)   CIF submission form for Rietveld refinements (Acta Cryst. C)    #

#                                                 Version 14 December 1998   #

#=============================================================================

# 1. SUBMISSION DETAILS

_publ_contact_author_name            ?   # Name of author for correspondence

_publ_contact_author_address             # Address of author for correspondence

; ?

;

_publ_contact_author_email           ?

_publ_contact_author_fax             ?

_publ_contact_author_phone           ?

_publ_contact_letter

; ?

;

_publ_requested_journal              ?

_publ_requested_coeditor_name        ?

_publ_requested_category             ?   # Acta C: one of CI/CM/CO/FI/FM/FO

#==============================================================================

# 2. PROCESSING SUMMARY (IUCr Office Use Only)

_journal_data_validation_number      ?

_journal_date_recd_electronic        ?

_journal_date_to_coeditor            ?

_journal_date_from_coeditor          ?

_journal_date_accepted               ?

_journal_date_printers_first         ?

_journal_date_printers_final         ?

_journal_date_proofs_out             ?

_journal_date_proofs_in              ?

_journal_coeditor_name               ?

_journal_coeditor_code               ?

_journal_coeditor_notes

; ?

;

_journal_techeditor_code             ?

_journal_techeditor_notes

; ?

;

_journal_coden_ASTM                  ?

_journal_name_full                   ?

_journal_year                        ?

_journal_volume                      ?

_journal_issue                       ?

_journal_page_first                  ?

_journal_page_last                   ?

_journal_paper_category              ?

_journal_suppl_publ_number           ?

_journal_suppl_publ_pages            ?

#==============================================================================

# 3. TITLE AND AUTHOR LIST

_publ_section_title

; ?

;

_publ_section_title_footnote

; ?

;

# The loop structure below should contain the names and addresses of all

# authors, in the required order of publication. Repeat as necessary.

loop_

_publ_author_name

_publ_author_footnote

_publ_author_address

?                                   #<--'Last name, first name'

; ?

;

; ?

;

#==============================================================================

# 4. TEXT

_publ_section_synopsis

;  ?

;

_publ_section_abstract

; ?

;

_publ_section_comment

; ?

;

_publ_section_exptl_prep      # Details of the preparation of the sample(s)

# should be given here.

; ?

;

_publ_section_exptl_refinement

; ?

;

_publ_section_references

; ?

;

_publ_section_figure_captions

; ?

;

_publ_section_acknowledgements

; ?

;

#=============================================================================

# 5. OVERALL REFINEMENT & COMPUTING DETAILS

_refine_special_details

; ?

;

_pd_proc_ls_special_details

; ?

;

# The following items are used to identify the programs used.

_computing_molecular_graphics     ?

_computing_publication_material   ?

_refine_ls_weighting_scheme       ?

_refine_ls_weighting_details      ?

_refine_ls_hydrogen_treatment     ?

_refine_ls_extinction_method      ?

_refine_ls_extinction_coef        ?

_refine_ls_number_constraints     ?

_refine_ls_restrained_S_all       ?

_refine_ls_restrained_S_obs       ?

#==============================================================================

# 6. SAMPLE PREPARATION DATA

# (In the unusual case where multiple samples are used in a single

#  Rietveld study, this information should be moved into the phase

#  blocks)

# The following three fields describe the preparation of the material.

# The cooling rate is in K/min.  The pressure at which the sample was

# prepared is in kPa.  The temperature of preparation is in K.

_pd_prep_cool_rate                ?

_pd_prep_pressure                 ?

_pd_prep_temperature              ?

_pd_char_colour                   ?       # use ICDD colour descriptions

data_TART_overall

_refine_ls_shift/su_max                0.00

_refine_ls_shift/su_mean               0.00

_computing_structure_refinement        GSAS

_refine_ls_number_parameters           1

_refine_ls_goodness_of_fit_all         5.30

_refine_ls_number_restraints           35

_refine_ls_matrix_type                 full

# pointers to the phase blocks

loop_   _pd_phase_block_id

2008-02-08T12:31|TART_phase1|Ivan_Halasz||

# pointers to the diffraction patterns

loop_   _pd_block_diffractogram_id

?

# Information for phase 1

data_TART_phase_1

_pd_block_id

2008-02-08T12:31|TART_phase1|Ivan_Halasz||

#==============================================================================

# 7. CHEMICAL, STRUCTURAL AND CRYSTAL DATA

_pd_char_particle_morphology      ?

_chemical_name_systematic

; ?

;

_chemical_name_common             ?

_chemical_formula_moiety          ?

_chemical_formula_structural      ?

_chemical_formula_analytical      ?

_chemical_melting_point           ?

_chemical_compound_source         ?       # for minerals and

# natural products

_symmetry_space_group_name_Hall   ?

_exptl_crystal_F_000               ?

_exptl_crystal_density_diffrn      ?

_exptl_crystal_density_meas        ?

_exptl_crystal_density_method      ?

_cell_measurement_temperature     ?

_cell_special_details

; ?

;

_geom_special_details             ?

# The following item identifies the program(s) used (if appropriate).

_computing_structure_solution     ?

#==============================================================================

# 8. Phase information from GSAS

_pd_phase_name                         tart

_cell_length_a                         6.25092(15)

_cell_length_b                         8.22598(23)

_cell_length_c                         10.43844(20)

_cell_angle_alpha                      94.9368(15)

_cell_angle_beta                       105.9512(16)

_cell_angle_gamma                      107.5183(17)

_cell_volume                           483.732(20)

_symmetry_cell_setting                 triclinic

_symmetry_space_group_name_H-M         "P -1"

loop_ _symmetry_equiv_pos_site_id _symmetry_equiv_pos_as_xyz

1 +x,+y,+z

-1 -x,-y,-z

# ATOMIC COORDINATES AND DISPLACEMENT PARAMETERS

loop_

_atom_site_type_symbol

_atom_site_label

_atom_site_fract_x

_atom_site_fract_y

_atom_site_fract_z

_atom_site_occupancy

_atom_site_thermal_displace_type

_atom_site_U_iso_or_equiv

_atom_site_symmetry_multiplicity

C

C1      0.505        0.3701       0.8419       1.0        Uiso   0.025         2

C

C2      0.3201       0.384        0.7142       1.0        Uiso   0.025         2

C

C3      0.0878       0.3767       0.7444       1.0        Uiso   0.025         2

C

C4     -0.1148       0.3542       0.61         1.0        Uiso   0.025         2

O

O5     -0.2115       0.2242       0.5179       1.0        Uiso   0.025         2

O

O6     -0.1985       0.4861       0.5947       1.0        Uiso   0.025         2

O

O7      0.4499       0.2166       0.8786       1.0        Uiso   0.025         2

O

O8      0.7007       0.479        0.9012       1.0        Uiso   0.025         2

O

O9      0.4197       0.5381       0.672        1.0        Uiso   0.025         2

O

O10     0.121        0.5314       0.8256       1.0        Uiso   0.025         2

H

H11     0.2846       0.2732       0.637        1.0        Uiso   0.025         2

H

H12     0.0252       0.2653       0.7966       1.0        Uiso   0.025         2

Ca

CA13    0.1592       0.312        0.228        1.0        Uiso   0.025         2

O

O14     0.8055       0.1218       0.2725       1.0        Uiso   0.025         2

O

O15     0.6237       0.8175       0.8893       1.0        Uiso   0.025         2

O

O16     0.1132       0.8025       0.0111       1.0        Uiso   0.025         2

O

O17     0.3191       0.1516       0.3977       1.0        Uiso   0.025         2

loop_ _atom_type_symbol

_atom_type_number_in_cell

C   8.0

O  20.0

H   4.0

Ca  2.0

# If you change Z, be sure to change all 3 of the following

_chemical_formula_sum                  "C4 H2 Ca O10"

_chemical_formula_weight               250.13

_cell_formula_units_Z                  2

# MOLECULAR GEOMETRY

loop_

_geom_bond_atom_site_label_1

_geom_bond_atom_site_label_2

_geom_bond_distance

_geom_bond_site_symmetry_1

_geom_bond_site_symmetry_2

_geom_bond_publ_flag

C1        C2              1.54427(4)  .      1_555  N

C1        O7            1.324280(30)  .      1_555  N

C1        O8              1.22913(4)  .      1_555  N

C1        CA13            3.10524(8)  .     -1_666  N

C2        C1              1.54427(4)  .      1_555  N

C2        C3              1.55368(4)  .      1_555  N

C2        O9            1.400090(30)  .      1_555  N

C2        H11           1.087610(30)  .      1_555  N

C3        C2              1.55368(4)  .      1_555  N

C3        C4              1.56332(4)  .      1_555  N

C3        O10             1.39269(4)  .      1_555  N

C3        H12           1.130050(30)  .      1_555  N

C4        C3              1.56332(4)  .      1_555  N

C4        O5              1.24407(4)  .      1_555  N

C4        O6            1.342440(30)  .      1_555  N

C4        CA13            3.22394(8)  .     -1_566  N

O5        C4              1.24407(4)  .      1_555  N

O6        C4            1.342440(30)  .      1_555  N

O6        CA13            2.28459(5)  .     -1_566  N

O7        C1            1.324280(30)  .      1_555  N

O8        C1              1.22913(4)  .      1_555  N

O8        CA13            2.38398(5)  .     -1_666  N

O9        C2            1.400090(30)  .      1_555  N

O9        H11             2.04463(6)  .      1_555  N

O9        CA13            2.41932(7)  .     -1_666  N

O10       C3              1.39269(4)  .      1_555  N

O10       H12             2.05885(6)  .      1_555  N

O10       CA13            2.44622(5)  .     -1_566  N

H11       C2            1.087610(30)  .      1_555  N

H11       O9              2.04463(6)  .      1_555  N

H12       C3            1.130050(30)  .      1_555  N

H12       O10             2.05885(6)  .      1_555  N

CA13      C1              3.10524(8)  .     -1_666  N

CA13      C4              3.22394(8)  .     -1_566  N

CA13      O6              2.28459(5)  .     -1_566  N

CA13      O8              2.38398(5)  .     -1_666  N

CA13      O9              2.41932(7)  .     -1_666  N

CA13      O10             2.44622(5)  .     -1_566  N

CA13      O14             2.48174(6)  .      1_455  N

CA13      O15             2.45658(5)  .     -1_666  N

CA13      O16             2.51192(7)  .     -1_565  N

CA13      O17             2.47000(5)  .      1_555  N

O14       CA13            2.48174(6)  .      1_655  N

O15       CA13            2.45658(5)  .     -1_666  N

O16       CA13            2.51192(7)  .     -1_565  N

O17       CA13            2.47000(5)  .      1_555  N

loop_

_geom_angle_atom_site_label_1

_geom_angle_atom_site_label_2

_geom_angle_atom_site_label_3

_geom_angle

_geom_angle_site_symmetry_1

_geom_angle_site_symmetry_2

_geom_angle_site_symmetry_3

_geom_angle_publ_flag

C2        C1        O7            114.1749(20)      1_555  .      1_555  N

C2        C1        O8            126.3713(18)      1_555  .      1_555  N

O7        C1        O8            119.0339(17)      1_555  .      1_555  N

C1        C2        C3            110.4558(17)      1_555  .      1_555  N

C1        C2        O9            108.0528(20)      1_555  .      1_555  N

C1        C2        H11           106.7168(20)      1_555  .      1_555  N

C3        C2        O9            112.1487(16)      1_555  .      1_555  N

C3        C2        H11           109.3994(19)      1_555  .      1_555  N

O9        C2        H11           109.9149(19)      1_555  .      1_555  N

C2        C3        C4            110.5267(18)      1_555  .      1_555  N

C2        C3        O10           109.9851(18)      1_555  .      1_555  N

C2        C3        H12           112.3067(15)      1_555  .      1_555  N

C4        C3        O10           107.3331(20)      1_555  .      1_555  N

C4        C3        H12           107.5796(20)      1_555  .      1_555  N

O10       C3        H12           108.9514(19)      1_555  .      1_555  N

C3        C4        O5            126.5707(17)      1_555  .      1_555  N

C3        C4        O6            116.6538(17)      1_555  .      1_555  N

O5        C4        O6            116.7299(18)      1_555  .      1_555  N

C4        O6        CA13          123.3521(15)      1_555  .     -1_566  N

C1        O8        CA13          114.6948(18)      1_555  .     -1_666  N

C2        O9        CA13          117.7954(17)      1_555  .     -1_666  N

C3        O10       CA13          121.8789(18)      1_555  .     -1_566  N

O6        CA13      O8             94.4849(20)     -1_566  .     -1_666  N

O6        CA13      O9             74.6355(21)     -1_566  .     -1_666  N

O6        CA13      O10            66.1752(17)     -1_566  .     -1_566  N

O6        CA13      O14            87.8266(21)     -1_566  .      1_455  N

O6        CA13      O15           144.4202(11)     -1_566  .     -1_666  N

O6        CA13      O16           136.1651(13)     -1_566  .     -1_565  N

O6        CA13      O17            87.3647(19)     -1_566  .      1_555  N

O8        CA13      O9             69.2527(17)     -1_666  .     -1_666  N

O8        CA13      O10            72.8463(17)     -1_666  .     -1_566  N

O8        CA13      O14           145.5281(10)     -1_666  .      1_455  N

O8        CA13      O15            75.7452(18)     -1_666  .     -1_666  N

O8        CA13      O16            74.3590(20)     -1_666  .     -1_565  N

O8        CA13      O17           138.6830(13)     -1_666  .      1_555  N

O9        CA13      O10           121.8813(19)     -1_666  .     -1_566  N

O9        CA13      O14           143.3066(12)     -1_666  .      1_455  N

O9        CA13      O15            69.8952(20)     -1_666  .     -1_666  N

O9        CA13      O16           134.0727(15)     -1_666  .     -1_565  N

O9        CA13      O17            71.5624(19)     -1_666  .      1_555  N

O10       CA13      O14            76.7993(20)     -1_566  .      1_455  N

O10       CA13      O15           137.7502(11)     -1_566  .     -1_666  N

O10       CA13      O16            70.0426(17)     -1_566  .     -1_565  N

O10       CA13      O17            142.2617(9)     -1_566  .      1_555  N

O14       CA13      O15           119.6049(19)      1_455  .     -1_666  N

O14       CA13      O16            80.2779(21)      1_455  .     -1_565  N

O14       CA13      O17            75.7401(19)      1_455  .      1_555  N

O15       CA13      O16            74.8075(18)     -1_666  .     -1_565  N

O15       CA13      O17            79.0598(16)     -1_666  .      1_555  N

O16       CA13      O17           128.9280(16)     -1_565  .      1_555  N

#--eof--eof--eof--eof--eof--eof--eof--eof--eof--eof--eof--eof--eof--eof--eof--#