QUESTIONNAIRE FOR the

STRUCTURE DETERMINATION BY POWDER DIFFRACTOMETRY ROUND ROBIN - 3

Please answer all questions as completely as possible. Provide

one filled questionnaire for each data (samples 1 and 2).

Preferably, attach the results as one PDF file or as a MS Word

document compressed by Winzip.

It is advised to complete the form as the structure determination

progress.

O.0 Precise date of

- data download      : Sat, 2  Feb 2008 19:56:00

- results submission : Tue, 29 Apr 2008 20:00:00

0.1 Is the first sample structure solvable with this quality

of data ?                                        Yes [ x ]  No [ ]

0.2 Is the second sample structure solvable with this quality

of data ?                                        Yes [ x ]  No [ ]

0.3 If not, what data would be required ?

Then, for each sample :

Ca-tartrate

1. Preliminary work

1.1 Did you obtained additional informations ?

(for instance from CSD or ICSD or ICDD databases)

Yes, from web and from the journals.

1.2 Did you obtained additional informations from the

powder pattern ? If yes, how and what information ?

(for instance using the JCPDS-ICDD database)

Yes, the indexing and extinction conditions were checked.

1.3 Did you extract the structure factors ?       Yes [ ]  No [ x]

1.3.1 If yes, which program(s) did you use ?

1.3.2 Give the angular range:

1.3.3 Give the number of extracted structure factors:

1.3.4 Give the Rp and Rwp (conventional Rietveld, background subtracted):

1.3.5 Give the Rp and Rwp (background not subtracted):

1.3.6 If not, did you use the whole pattern ?

Yes

1.3.7 Or a partial pattern (if yes, give the angular range):

1.3.8 If you use the whole or a partial pattern, did you keep fixed the

profile parameters, and if yes, how did you obtained them ?

Yes, the profile parameters were refined by LeBail refinement with FullProf.

2- Structure solution

2.1 Did you use direct methods ?                 Yes [ ]  No [ x]

2.1.1 If yes, was it on the whole dataset ?

2.1.2 Or on a partial dataset ?

2.1.3 Give the number of reflections:

2.1.4 Which program(s) did you use ?

2.1.5 Did you modified intensities of closely neighbouring

reflections ? If yes, explain how.

2.2 Did you use Patterson methods ?              Yes [ ]  No [ x]

2.2.1 If yes, was it on the whole dataset ?

2.2.2 Or on a partial dataset ?

2.2.3 Give the number of reflections:

2.2.4 Which program(s) did you use ?

2.2.5 Did you modified intensities of closely neighbouring

reflections ? If yes, explain how.

2.3 Did you use another method ?                 Yes [x]  No [ ]

2.3.1 If yes, which method(s) (give details : molecule location

by direct space - genetic algorithm, Monte Carlo, Simulated

annealing, scratch, charge flipping, other) ?

Yes, direct space method with Simulated annealing in Parallel tempering mode.

2.3.2 Which program(s) did you use (name and reference) ?

Fox: Favre-Nicolin, V.; Cerny, R.: FOX, J. Appl. Crystallography 35 (2002) 734-743.

See also http://objcryst.sourceforge.net/Fox.

2.3.3 If you used direct space methods, how many independent

molecules did you use (give details on these molecules)? How

many degrees of freedom (total) ? How many torsion angles ?

Space group P-1.

1 semi-rigid molecule 2R,3R C4H4O6 with internal DoF and restraints as used in FOX

4 rigid molecules H2O

1 free atoms of Ca

In total 33 DoF + internal DoF of the C4H4O6 molecule.

2.4 Did you first locate the whole structure ?   Yes [x ]  No [ ]

2.4.1 If not, how many atoms did you locate ?

27

2.4.2 Give their name and initial atomic coordinates

Atom   x       y      z     occ      Biso

Ca   0.7545 0.1228 0.0266 1.0000    1.5000

W1   0.6876 0.9884 0.4896 1.0000    2.5000

H11  0.8055 1.0304 0.5189 1.0000    2.5000

H12  0.6404 0.9383 0.3219 1.0000    2.5000

W2   0.2777 0.7500 0.6406 1.0000    2.5000

H21  0.3844 0.7520 0.6042 1.0000    2.5000

H22  0.2936 0.7068 0.7626 1.0000    2.5000

W3   0.3630 0.5799 0.0867 1.0000    2.5000

H31  0.3949 0.5265 0.1926 1.0000    2.5000

H32  0.4390 0.6677 0.1671 1.0000    2.5000

W4   0.6592 0.8274 0.8046 1.0000    2.5000

H41  0.6896 0.7587 0.6904 1.0000    2.5000

H42  0.7141 0.8157 0.9570 1.0000    2.5000

O1   0.9434 0.9229 0.6365 1.0000    2.5000

O2   0.7409 0.7705 0.3045 1.0000    2.5000

O3   0.9950 0.6675 0.6683 1.0000    2.5000

O4   1.1130 0.5337 0.2547 1.0000    2.5000

O5   1.0631 0.7589 0.0737 1.0000    2.5000

O6   0.7881 0.6420-0.0845 1.0000    2.5000

C7   0.8905 0.8115 0.4493 1.0000    2.5000

C8   1.0133 0.7179 0.4894 1.0000    2.5000

C9   0.9788 0.6085 0.2588 1.0000    2.5000

C10  0.9419 0.6789 0.0719 1.0000    2.5000

H11  1.1413 0.7749 0.5423 1.0000    2.5000

H12  0.8687 0.5473 0.2294 1.0000    2.5000

H13  0.8766 0.6686 0.6585 1.0000    2.5000

H14  1.2130 0.6095 0.2784 1.0000    2.5000

2.4.3 Were the initial atomic coordinates taken from a known

structure ?                             Yes [ ]  No [ x]

If yes, which one (give reference) ?

3- Structure completion

3.1 Did you performed Fourier difference syntheses before

refining the structure by the Rietveld method ? Yes [ ]  No [ x]

3.2 If yes, with what program ?

3.3 If yes, how many additional atoms did you obtained from Fourier

difference syntheses ?

3.4 Give their name and atomic coordinates as they were obtained

Atom      x         y           z

.................................

.................................

.................................

3.5 Did you made first Rietveld refinements without preliminary

Fourier difference syntheses ?                  Yes [ x]  No [ ]

3.5.1 If yes, with what program ?

Topas.

3.5.2 What were the Rp and Rwp (background subtracted AND not

subtracted) and RB and RF that you obtained at the first

Rietveld application ?

??

3.5.3 Did you get the structure factors from this result and

performed a Fourier difference synthesis ?

No

3.5.4 Did you locate additional atoms at this stage ?

No

3.5.5 And which one ?

Atom      x         y           z

.................................

.................................

.................................

3.5.6 If you repeated Rietveld refinements and Fourier synthese

several times before to complete the model, give the number

of times and which atoms you locate and the Rp, Rwp

RB, RF at each times.

Atom      x         y           z

.................................

.................................

.................................

4- Final refinement

- Give the final atomic coordinates, thermal parameters,

standard deviations, Reliability factors...........

Atom   x            y         z       Occupancy      Biso

Ca  0.738(1)     0.126(1)   0.006(2) occ   Ca   1  beq bCa  0.4790`_0.3128

W1  0.65307      1.02214    0.60613 occ    O    1  beq bW  0.5637`_0.4169

H11 0.76730      1.00876    0.60088 occ    H    1  beq = bW;

H12 0.67222      1.08846    0.75860 occ    H    1  beq = bW;

W2  0.34830      0.77825    0.66048 occ    O    1  beq = bW;

H21 0.22370      0.77280    0.61817 occ    H    1  beq = bW;

H22 0.38003      0.72759    0.77089 occ    H    1  beq = bW;

W3  0.35945      0.57185    0.27287 occ    O    1  beq = bW;

H31 0.26718      0.49292    0.20564 occ    H    1  beq = bW;

H32 0.34045      0.62800    0.41190 occ    H    1  beq = bW;

W4  0.68301      0.75984    0.95278 occ    O    1  beq = bW;

H41 0.71373      0.68190    1.00085 occ    H    1  beq = bW;

H42 0.55725      0.74295    0.88819 occ    H    1  beq = bW;

O1  0.91474      0.60977    0.03264 occ    O    1  beq !bM 4.

O2  1.03116      0.56581    0.39403 occ    O    1  beq = bM;

O3  0.88341      0.88845    0.33882 occ    O    1  beq = bM;

O4  0.81139      0.78712    0.69823 occ    O    1  beq = bM;

O5  0.78934      0.58810    0.64882 occ    O    1  beq = bM;

O6  1.07881      0.66603    0.87830 occ    O    1  beq = bM;

C7  0.96161      0.63865    0.26268 occ    C    1  beq = bM;

C8  0.92437      0.77442    0.36800 occ    C    1  beq = bM;

C9  0.94070      0.78536    0.61652 occ    C    1  beq = bM;

C10 0.93616      0.67306    0.72005 occ    C    1  beq = bM;

H1  0.82266      0.78900    0.24690 occ    H    1  beq = bM;

H2  0.88018      0.73540    0.44460 occ    H    1  beq = bM;

H3  0.99715      0.94840    0.37912 occ    H    1  beq = bM;

H4  0.74055      0.69522    0.60054 occ    H    1  beq = bM;

Space group P-1.

r_exp  1.951 r_wp  11.726 r_p_dash  13.538 gof  6.012     r_bragg  3.90

- Give details about constraints, restraints

The C4H4O6 molecule was refined on Z-matrix description with 5 free bond angles and 4 free torsion angles.

The water molecules were refined as rigid body.

The e.s.d. of the internal angles and molecule rotation angles were better than 2 deg for the C4H4O6 molecule.

The e.s.d. of the rotation angles of the water molecules were as bad as 90 deg!

The e.s.d. of the positional parameters of the C4H4O6 and water molecules were better than 0.006.

Ca was refined as free atom.

The Biso were constrained as given in the table. The Biso of the C4H4O6 molecule was fixed.

Following antibum restraints were used:

Anti_Bump(2, W1, O4,    2.9, 0.00000001)

Anti_Bump(2, W2, O2,    2.9, 0.00000001)

Anti_Bump(2, H2, O4,    1.8, 0.00000001)

Anti_Bump(2, H2, C10,    1.8, 0.00000001)

Anti_Bump(2, C9, O3,    1.9, 0.00000001)

The preferred orientation of the planes (110) was refined by spherical harmonics of the 8th order.

5- Feel free to add any intermediate results (list of extracted structure

factors, software decisive input and output data...) or comments you

might consider as essential (details on hardware, time for solving the

structure, number of moves by Monte Carlo or molecule position trial,

any picture...).

The key problem of the structure solution was the preferred orientation of the planes (110). It was modeled in FOX by March-Dollase correction and in Topas by spherical harmonics of the 8th order. The planes (110) can be identified in the final structure as planes containing C4H4O6 molecules and Ca atoms. The preferred orientation including the hkl indices of the preferred orientation planes was solved ab-initio during the structure solution in FOX.